## Assays
Results Summary - In querying the CORD-19 corpus for diagnostic assays to evaluate immune responses to COVID-19, it is apparent that there are several assays that are currently being developed or ameliorated. Among these are the gold standards such as ELISA and PCR which have been leveraged both alone, and as per the results below, in combination with other antibody testing methodologies such as IgG/IgM to gain more confidence in CoV-2 infection diagnosis. Among the results that were returned based on the query, there were few assays that seem to be novel in their nature, such as sereological colirometric assays and fluorescence immunochromatographic tests. The results summarized below were manually curated from over 100 hits for the search query used. The curation mainly took into consideration what virus the assay was addressing, as several hits were referencing viruses not in the CoV family. Additional refinement of these results will include queries to better assess the suitable animal models as well as expand to gain insight into assays from a process development standpoint as opposed to simply a diagnostic one.
Query: diagnostic assay for COV response
Sha | Title | Published Date | Assay | Paper Insights
610549c879c62efc42f2ad32f63c65b25d8931c7 | A preliminary study on serological assay for severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2) in 238 admitted hospital patients | 2020-03-08 | ELISA | 1) A newly-developed ELISA assay for IgM and IgG antibodies against N protein of SARS-CoV-2 were used to screen the serums of 238 admitted hospital patients with confirmed or suspected SARS-CoV-2 infection from February 6 to February 14, 2020. SARS-CoV-2 RNA was detected by real time RT-PCR on pharyngeal swab specimens 2) Findings Of the 238 patients, 194 (81.5%) were detected to be antibody (IgM and/or IgG) positive, which was significantly higher than the positive rate of viral RNA (64.3%). There was no difference in the positive rate of antibody between the confirmed patients (83.0%, 127/153) and the suspected patients (78.8%, 67/85) whose nucleic acid tests were negative. 3) The suspected patients were most likely infected by SARS-CoV-2. Before the 11th day after initial onset of symptoms, nucleic acid test is important for confirmation of viral infection. The combination of serological assay can greatly improve the diagnostic efficacy. After that, the diagnosis for viral infection should be majorly dependent on serological assay.
7eb6cd9756309f5a1d2fd29e417e10886cc84c0e | Diagnostic Indexes of a Rapid IgG/IgM Combined Antibody Test for SARS-CoV-2 | 2020-03-30 | IgG/IgM combined test | 1) A total of 179 patients were enrolled. Serum were collected for IgG-IgM combined antibody test and corresponding nasal and pharyngeal swab specimens were collected for SARS-CoV-2 RT-PCR. According to SARS-CoV-2 RT-PCR results, patients under study were categorized as PCR positive group in 90 patients and PCR negative group in 89 patients. Results 1. Of the 90 PCR positive samples, 77 were tested positive by SARS-CoV-2 IgG-IgM test kit, yielding a sensitivity of 85.6%. Meanwhile, of the 89 PCR negative sample, 8 samples were detected positive, resulting in a specificity of 91%. 2) The sensitivity and specificity of this ease-of-use IgG/IgM combined test kit were adequate, plus short turnaround time, no specific requirements for additional equipment or skilled technicians, all of these collectively contributed to its competence for mass testing. At the current stage, it cannot take the place of SARA-CoV-2 nucleic acid RT-PCR, but can be served as a complementary option for RT-PCR. The combination of RT-PCR and IgG-IgM combined test kit could provide further insight into SARS-CoV-2 infection diagnosis.
a0327c89dd46ce06ec8e979ddbad8c7b9c32660b | Temporal profiles of viral load in posterior oropharyngeal saliva samples and serum antibody responses during infection by SARS-CoV-2: an observational cohort study | 2020-03-23 | Serological assay | 1) Posterior oropharyngeal saliva samples are a non-invasive specimen more acceptable to patients and health-care workers. Unlike severe acute respiratory syndrome, patients with COVID-19 had the highest viral load near presentation, which could account for the fast-spreading nature of this epidemic. This finding emphasises the importance of stringent infection control and early use of potent antiviral agents, alone or in combination, for high-risk individuals. Serological assay can complement RT-qPCR for diagnosis. 2) The antibody profile is vital for timing requests for serological assays and interpretation of antibody test results. Serological diagnosis is important for patients who present late with a very low viral load, below the detection limit of RT-PCR assays. Because most patients have rising antibody titres 10 days after symptom onset, collection of serial serum samples in the convalescent phase would be more useful. Serum IgG amounts can rise at the same time or earlier than those of IgM against SARS-CoV-
5bb41c4446cd4096b2bd85f44b00a7475ad752da | Evaluation the auxiliary diagnosis value of antibodies assays for detection of novel coronavirus (SARS-Cov-2) causing an outbreak of pneumonia (COVID-19) | 2020-03-30 | antibodies assays | 1) Combined use of antibodies assay and qRT-PCR at the same time was able to improve the sensitivities of pathogenic-diagnosis, especially for the throat swabs group at the later stage of illness. Moreover, most of these cases with undetectable viral RNA in throat swabs specimens at the early stage of illness were able to be IgM/IgG seropositive after 7 days.
27d2a39228be51b570f2339e44b2cb1a94713683 | Evaluation of recombinant nucleocapsid and spike proteins for serological diagnosis of novel coronavirus disease 2019 (COVID-19) | 2020-03-20 | gold immunochromatography assay (GICA) | 1) The colloidal gold immunochromatography assay (GICA) is a rapid diagnostic tool for novel coronavirus disease 2019 (COVID-19) infections. However, with significant numbers of false negatives, improvements to GICA are needed. 2) The eukaryotically-expressed spike proteins (rS1and rS-RBD-mFc) are more suitable than the prokaryotically expressed nucleocapsid proteins for HCoV-19 serological diagnosis. The GICA sandwich used to detect total antibodies is a powerful complement to the current standard RNA-based tests. 3) This shows that GICA has a high coincidence 8 rate with RT-PCR tests and also complements the PCR negative, clinically diagnosed 9 cases, providing a potentially powerful serological tool for diagnosing COVID-19 in 10 patients
a6009259cceb933dbbaa6456be281cf953d5137d | Rapid and visual detection of 2019 novel coronavirus (SARS-CoV-2) by a reverse transcription loop-mediated isothermal amplification assay | 4/8/2020 | reverse transcription loop-mediated isothermal amplification (RT-LAMP) assay | 1) Objective To evaluate a reverse transcription loop-mediated isothermal amplification (RT-LAMP) assay for detection of SARS-CoV-2, and compare it with RT polymerase chain reaction (RT-PCR). 2) This assay detected SARS-CoV-2 in the mean (±SD) time of 26.28 ± 4.48 min and the results can be identified with visual observation. 3) These results demonstrate that we developed a rapid, simple, specific, and sensitive RT-LAMP assay for SARS-CoV-2 detection among clinical samples. It will be a powerful tool for SARS-CoV-2 identification, and for monitoring suspected patients, close contacts, and high-risk groups.
ce1846f38b54b0309a8b0c7d063f5fcd2f82a473 | Highly accurate and sensitive diagnostic detection of SARS-CoV-2 by digital PCR | 2020-03-18 | dPCR assays | 1) We established a digital PCR (dPCR) protocol to detect SARS-CoV-2 on 194 clinical pharyngeal swab samples, including 103 suspected patients, 75 close contacts and 16 supposed convalescents. 2) The limit of blanks (LoBs) of the dPCR assays are about 1.6, 1.6 and 0.8 copies/reaction for ORF 1ab, N and E gene. The limit of detection (LoD) is 2 copies/reaction. The overall accuracy of ddPCR is 95.5 % 3) In addition, quantification of the virus load for convalescents by dPCR showed that a longer observation in the hospital is needed for aged patients. Conclusion: dPCR could be a confirmatory method for suspected patients diagnosed by RT-qPCR. Furthermore, dPCR is more sensitive and suitable for low virus load specimens from the both patients under isolation and those under observation who may not be exhibiting clinical symptoms.
41e058c88e4a85497c84cec7b3e34bc0aeeaccae | A novel luciferase immunosorbent assay performs better than a commercial enzyme-linked immunosorbent assay to detect MERS-CoV specific IgG in humans and animals | 2019-12-31 | novel luciferase immunosorbent assays (LISA) | 1) Panels of human or animal samples infected with MERS-CoV were used to analyze the sensitivity and specificity of various LISAs in reference to a MERS-CoV RT-PCR, commercial S1-based ELISA, and pseudovirus particle neutralization test (ppNT). Our results showed that the S1-, RBD-, and NP-LISAs were more sensitive than the NTD- and S2-LISAs for the detection of anti-MERS-CoV IgG. 2) More importantly, these LISAs proved their applicability and reliability for detecting anti-MERS-CoV IgG in samples from camels, monkeys, and mice, among which the RBD-LISA exhibited excellent performance.
47236f3c7fe98fc3ab9a033df5d29ec778509a09 | Clinical meanings of rapid serological assay in patients tested for SARS-Co2 RT-PCR | 4/6/2020 | rapid serological colorimetric test | 1) We verified in a consecutive series of 191 symptomatic patients the clinical information that new rapid serological colorimetric test qualitatively analyzing IgM/IgG expression can provide with respect to standard assay and with respect to clinical outcome of patients. 2) Rapid serological test showed a sensitivity of 30% and a specificity of 89% with respect to the standard assay but, interestingly, these performances improve after 8 days of symptoms appearance. After 10 days of symptoms the predictive value of rapid serological test is higher than that of standard assay 3 ) Our study analyzed theclinical performance of the rapid serological test, Viva-Diag TM and confirmedthe test's limited applicability for the diagnosis of SARS-CoV-2 infection when compared to standard molecular testing. However, this rapid serological test seems to provide important information concerning the immunoreaction of individuals to the infection and, more importantly, it may detect previous exposure to the virus in currently healthy persons.
31816b72a378debeb42e76ff7ff2af69727cd049 | Diagnosis of Acute Respiratory Syndrome Coronavirus 2 Infection by Detection of Nucleocapsid Protein | 2020-03-10 | fluorescence immunochromatographic assay | 1) Here, we report a fluorescence immunochromatographic assay for detecting nucleocapsid protein of SARS-CoV-2 in nasopharyngeal swab samples and urine within 10 minutes, and evaluated its significance in diagnosis of COVID-19. We measured nucleocapsid protein in nasopharyngeal swab samples in parallel with the nucleic acid test. Nucleic acid test was taken as the reference standard, and statistical evaluation was taken in blind. 2) We developed a fluorescence immunochromatographic assay for detecting nucleocapsid protein of SARS-CoV-2 in nasopharyngeal swab sample and urine within 10 minutes. 100% of nucleocapsid protein positive and negative participants accord with nucleic acid test for same samples.
033ea7af3e6137df652de026f0751ac435327b75 | The Potential Use of Unprocessed Sample for RT-qPCR Detection of COVID-19 without an RNA Extraction Step | 2020-04-08 | RT-qPCR | 1) Using flu and RSV clinical specimens, we have collected evidence that the RT-qPCR assay can be performed directly on patient sample material from a nasal swab immersed in virus transport medium (VTM) without an RNA extraction step. We have also used this approach to test for the direct detection of SARS-CoV-2 reference materials spiked in VTM. 2) Our data, while preliminary, suggest that using a few microliters of these untreated samples still can lead to sensitive test results. If RNA extraction steps can be omitted without significantly affecting clinical sensitivity, the turn-around time of COVID-19 tests and the backlog we currently experience can be reduced drastically.
71545acaa89fb9e256e74f046844c59717e97729 | SARS-CoV-2 nucleic acid detection by RT-PCR is one of the criteria approved by China FDA for diagnosis of COVID-19. | 2020-03-30 | dPCR assays | 1) Digital PCR (dPCR) instrument DropX-2000 and assay kits were used to detect SARS-CoV-2 from 108 clinical specimens from 36 patients including pharyngeal swab, stool and blood from different days during hospitalization. Double-blinded experiment data of 108 clinical specimens by dPCR methods were compared with results from officially approved RT-PCR assay 2) The overall accuracy of dPCR for clinical detection is 96.3% 3) We showed evidences that dPCR is powerful in detecting asymptomatic patients and suspected patients. Digital PCR is capable of checking the negative results caused by insufficient sample loading by quantifying internal reference gene from human RNA in the PCR reactions. Multi-channel fluorescence dPCR system (FAM/HEX/CY5/ROX) is able to detect more target genes in a single multiplex assay, providing quantitative count of viral load in specimens, which is a powerful tool for monitoring COVID-19 treatment.
e74c09fac1f951aa3859885662c702089ba95c80 | An in vivo cell-based assay for investigating the specific interaction between the SARS-CoV N-protein and its viral RNA packaging sequence | 2019-12-10 | novel in vivo cell-based assay | 1) In this study, we developed a novel in vivo cell-based assay for examining this interaction between the N-protein and packaging signal RNA for SARS-CoV, as well as other viruses within the coronaviridae family 2) Our results demonstrate that the N-protein specifically recognizes the SARS-CoV packaging signal with greater affinity compared to signals from other coronaviruses or non-coronavirus species. We also use deletion mapping to identify a 151-nt region within the packaging signal sequence that is critical for N-protein-RNA binding, and conversely, we show that both the N-terminal and C-terminal domains of the N protein are necessary for recognizing the packaging RNA. 3) These results describe, for the first time, in vivo evidence for an interaction between the SARS-CoV N-protein and its packaging signal RNA, and demonstrate the feasibility of using this cell-based assay to further probe viral RNA-protein interactions in future studies.